## 1 Comparability Not Cost
Position at 15 October 2026
Samples expected to date | 148,800
Samples received | 141,260 — 94.9%
Unusable on arrival | 1.1%
Shipments | 3,940, of which 61 had a temperature excursion (1.5%)
Median turnaround, receipt to result | 4 days

## 2 What Runs Where
Test group | Where it runs | Why there | The part that matters
Efficacy endpoints — body weight, waist circumference | Site, standardized equipment | Physical measurement, not an assay | ⚠ Equipment is supplied and calibrated by the program, not the site. A site's own scale is not acceptable when the primary endpoint is a weight change.
Metabolic panel, HbA1c, lipids | Central | Pooled across sites in the analysis | One method, one instrument platform, one reference range. This is the core of the central-lab argument.
Pharmacokinetics and anti-drug antibodies | Central, specialist assay | Bioanalytical method under GLP-equivalent control | Method validated before first sample; a mid-study method change requires bridging.
Safety chemistry and hematology for clinical decisions | Local, with central confirmation | ⚠ An investigator needs a result in hours to treat a participant, not days | The local result drives care; the central result drives analysis. Both are recorded, and they will not always agree.
Pregnancy testing | Local, point of care | Required before dosing; no time for shipment | Result documented in source before each dose in the relevant population.
Cardiovascular sub-study biomarkers | Central, batched | Added under CR-02; analyzed together at study end | Samples accumulate frozen and are assayed in one run, which removes inter-run variability.

## 3 Chain of Custody
Step | Owner | What must be true
Collection | Site | Labeled with participant ID and timepoint from the kit label, never handwritten from memory.
Processing | Site | Centrifuge, aliquot, freeze within a protocol-defined window. ⚠ The window is the most commonly missed step in the whole chain.
Storage | Site | Monitored freezer with continuous temperature logging.
Shipment | Courier | Dry ice, temperature logger in every shipment, tracked.
Receipt | Central lab | Condition on arrival recorded, including logger download. A shipment arriving warm is a documented event, not a discard.
Analysis | Central lab | Within assay-defined stability limits from collection.
Retention | Central lab | Residual samples stored against the consent that was given.

## 4 Method Validation and Why It
Principle | Why
One method for the life of the study | ⚠ Changing a bioanalytical method mid-study requires a bridging study to demonstrate the two produce comparable results. It is doable, expensive, and it is why the method is validated before the first sample rather than after.
Reference ranges are the laboratory's, not the site's | A value is abnormal relative to the range of the laboratory that produced it. Mixing local and central ranges in one analysis produces abnormality counts that mean nothing.
The local result treats the participant; the central result is analyzed | Both are real and they will sometimes disagree. ⚠ Recording both, and never quietly preferring the more convenient one, is the discipline.
A sample without a matching record is not data | An unlabeled or mismatched sample cannot be attributed to a participant or a timepoint, and is discarded. The loss is permanent because the visit cannot be repeated.

## 5 Sample Reconciliation
Measure | Count | What a gap means
Expected | 148,800 | Derived from the protocol schedule multiplied by participants enrolled. ⚠ A denominator computed in advance, not counted from what arrived.
Received | 141,260 (94.9%) | The shortfall is missed visits, missed collections and participants who discontinued. Every one should have a matching entry in the clinical database.
Unusable | 1.1% of received | Processing window missed, hemolysis, insufficient volume, label mismatch. Permanent loss.
Queries raised | 2,180 | Discrepancies between the laboratory record and the clinical database. ⚠ A zero here would mean nobody is reconciling.

## 6 Retained Samples and the Limi
Question | Answer | Why it constrains the program
What may be retained? | Residual volume after protocol-specified testing | Storage is cheap and the samples are irreplaceable, so retention is the default where consent permits it.
For how long? | As stated in the consent the participant signed | ⚠ Not as long as the sponsor would find useful. The consent is the limit.
For what purpose? | Only purposes described in that consent | A future question the sponsor did not anticipate cannot be answered from these samples unless the consent contemplated it.
Can it be broadened later? | Only by re-consenting the participant | Which, for a participant who completed the study two years ago, is usually not practical. The consent language written at study start determines what is possible for the life of the samples.

## About
Central Laboratory & Testing Plan
Vitalis Therapeutics Inc. · VitaFlow (VTX-401) · Central Laboratory & Testing Plan · status 15 October 2026. Fictional program.
Generated from the published artifact. Figures derive from a single locked fact base that asserts its own arithmetic on load.